# PRIMARY TOPICS SELECTION.

# INDUSTRY 3.0

## Industrial Automation, Installation, Commissioning, Maintenance & Project Systems

## 1. INDUSTRIAL AUTOMATION FUNDAMENTALS

- Automation evolution

- Industrial automation architecture

- Machine → cell → line → shop → plant

- Discrete automation

- Process automation

- Batch automation

- Fixed/programmed/flexible automation

- Field level

- Control level

- Supervisory level

- Centralized/distributed control

- Machine cycle

- Cycle time

- Takt time

- Throughput

- Bottleneck

- Interlock

- Permissive

- Sequence

- Handshake

- Recipe

- Alarm

- Fault

- Trip

- Diagnostic

- Commissioning

- FAT

- SAT

- Handover

# 2. INDUSTRIAL AUTOMATION TECHNOLOGIES

This remains your broad technology foundation.

### PLC

- PLC architecture

- CPU

- Memory

- I/O

- Digital/analog modules

- Remote I/O

- Scan cycle

- Diagnostics

- Programming

- Ladder

- Function blocks

- Structured Text

- SFC

- Data structures

- Sequencing

- Interlocks

- Alarms

- Troubleshooting

Manufacturer awareness:

- Siemens

- Allen-Bradley

- Mitsubishi

### HMI

- Architecture

- Tags

- Screens

- Alarms

- Trends

- Recipes

- Diagnostics

- PLC communication

- WinCC

- GOT/GOT2000

- GT Designer3

- PanelView

- FactoryTalk View

### VFD

- Drive architecture

- Wiring

- Motor parameters

- Parameterization

- V/f

- Vector control

- Speed/torque control

- Braking

- Faults

- Diagnostics

- Backup/restore

Manufacturer awareness:

- SINAMICS

- PowerFlex

- Mitsubishi drives

- ABB

- Schneider

- Yaskawa

- Danfoss

- Fuji

- Delta

### Servo/motion

- Servo motor

- Servo drive

- Encoder

- Positioning

- Homing

- Motion profiles

- Synchronization

- Servo tuning

- Fault diagnosis

### CNC

- CNC architecture

- Axes

- Servo

- Spindle

- G/M codes

- Offsets

- Parameters

- Diagnostics

- Backup

Systems:

- Siemens 802D

- 810D

- 840D

- 828D

- FANUC

- 0i

- 16/18

- 21

- 30i

- 31i

- 32i

Machine builders:

- Makino

- Nagel

- Mazak

- DMG MORI

- Okuma

- Haas

### Robotics

- Robot architecture

- Controller

- Teach pendant

- Frames

- TCP

- Programs

- I/O

- PLC handshake

- Calibration

- Mastering

- Diagnostics

Systems:

- KUKA KRC2

- KUKA KRC4

- FANUC R-J2

- R-J3

- R-30iA

- R-30iB

- R-30iB Plus

### Other automation

- Sensors

- Actuators

- Machine vision

- Barcode scanners

- RFID

- Industrial printers

- Pneumatics

- Hydraulics

- Industrial PCs

- Safety systems

- Managed switches

- Protocol converters

# 3. INDUSTRIAL COMMUNICATION

### Interfaces

- RS-232

- RS-422

- RS-485

- Ethernet

- Fiber

- Serial communication

- USB/serial converters

- Media converters

### Protocols

- MPI

- PPI

- PROFIBUS

- PROFINET

- Modbus RTU

- Modbus TCP

- CC-Link

- CC-Link IE

- DeviceNet

- ControlNet

- EtherNet/IP

- CAN

- CANopen

- EtherCAT

- AS-i

- HART

### Conversion

- Serial conversion

- Protocol gateways

- Data mapping

- Register mapping

- Byte order

- Word order

- Scaling

- Engineering-unit conversion

### Industrial Ethernet

- IP addressing

- Subnetting

- Managed switches

- VLAN basics

- Ring networks

- Redundancy

- Port configuration

- Network diagnostics

- Cable testing

- Network faults

# 4. INDUSTRIAL INSTALLATION ENGINEERING

This was the major missing section.

You need to understand how an automation system physically becomes an operational machine.

### Electrical installation

- Panel installation

- Control panel mounting

- PLC installation

- I/O installation

- VFD installation

- Servo drive installation

- Power distribution

- Control wiring

- Terminal blocks

- Relays

- Contactors

- MCB/MCCB

- Fuses

- Earthing

- Shielding

- Cable routing

- Cable segregation

- Ferruling

- Cable numbering

- Connector installation

- Industrial plugs/connectors

### Instrumentation installation

- Sensor mounting

- Sensor alignment

- Cable routing

- Junction boxes

- Signal wiring

- Analog wiring

- 4-20 mA

- 0-10 V

- Encoder wiring

- Shielding

- Grounding

### Network installation

- Industrial Ethernet cabling

- Fiber installation

- Switch installation

- Network topology

- IP assignment

- Network labeling

- Port mapping

- Termination

- Network documentation

### Robot installation

- Robot mounting

- Base installation

- Controller installation

- Teach pendant

- Robot cabling

- Tool installation

- External axes

- Safety circuits

- Mastering/calibration

### CNC installation

- CNC controller

- Servo drives

- Spindle drive

- Motors

- Encoders

- I/O

- Machine PLC

- HMI

- Network

- Machine builder integration

# 5. PANEL BUILDING & CONTROL CABINET ENGINEERING

- Control-panel architecture

- Panel layout

- Component placement

- Heat dissipation

- Power distribution

- Control power

- 24 VDC distribution

- Terminal blocks

- Relays

- Contactors

- Fuses

- Circuit breakers

- PLC

- Drives

- Communication equipment

- Cooling

- Fans

- Air conditioners

- Filters

- Earthing

- EMC considerations

- Cable ducts

- Wire numbering

- Ferrules

- Panel labeling

- Panel inspection

### Panel documents

- Panel GA

- Electrical schematic

- Wiring diagram

- Terminal diagram

- Cable schedule

- BOM

- Component list

- I/O list

- Panel layout

- Network diagram

# 6. MACHINE INTEGRATION

Study how individual systems become one machine.

For example:

Sensor

→ PLC

→ VFD

→ Motor

→ Mechanical mechanism

→ Encoder

→ PLC feedback

→ HMI

→ Barcode scanner

→ Printer

→ Network

→ Robot

→ Safety system

→ Production system

Study:

- PLC-device integration

- HMI-PLC integration

- PLC-drive integration

- PLC-servo integration

- PLC-robot integration

- PLC-CNC integration

- PLC-scanner integration

- PLC-printer integration

- PLC-network integration

- Safety-system integration

- Inter-machine communication

- Handshake logic

- Sequence coordination

# 7. AUTOMATION PROJECT LIFECYCLE

This needs to become a major pillar.

## Concept

- Customer requirement

- Process study

- Site survey

- Existing-system assessment

- Concept development

- Automation architecture

- Technology selection

- Preliminary BOM

- Preliminary costing

- Feasibility

## Engineering

- URS

- Functional requirements

- Control philosophy

- Sequence description

- I/O estimation

- Hardware selection

- Software architecture

- Network architecture

- Safety concept

- Electrical design

- Mechanical/automation interface

## Procurement

- RFQ

- Vendor identification

- Technical specification

- Commercial specification

- Technical bid

- Commercial bid

- Bid comparison

- Technical clarification

- Vendor selection

- Purchase order

- Vendor document review

# 8. DAP / DESIGN & APPROVAL PROCESS

Since you specifically mentioned DAP, treat it as part of your plant/project engineering workflow.

Study:

- DAP purpose

- DAP preparation

- Requirement definition

- Existing-machine study

- Proposed automation architecture

- Equipment specification

- Technical justification

- Cost estimation

- Vendor details

- Project timeline

- Risk assessment

- Approval workflow

- Design review

- Revision control

- Approval comments

- Change management

Also understand that exact terminology and approval workflow can vary by company, so you should learn the general engineering purpose, then the specific DAP format used by the organization.

# 9. RFQ / PROCUREMENT ENGINEERING

### RFQ

- RFQ preparation

- Scope of supply

- Technical specification

- Quantity

- Make/model requirements

- Performance requirements

- Environmental requirements

- Documentation requirements

- Installation requirements

- Commissioning requirements

- Warranty

- Spare requirements

- Training requirements

- Acceptance criteria

### Technical bid evaluation

- Compliance matrix

- Technical deviations

- Make comparison

- Specification comparison

- Architecture comparison

- Lifecycle considerations

- Spare availability

- Serviceability

- Vendor support

- Obsolescence

- Standardization

### Commercial awareness

You don't need procurement-management depth here.

Understand:

- CAPEX

- OPEX

- Equipment cost

- Installation cost

- Commissioning cost

- Spare cost

- AMC

- Warranty

- Lead time

- Payment milestones

Detailed commercial negotiation belongs later under Business Administration / Managerial Skills.

# 10. DETAILED ENGINEERING

After vendor selection:

- Detailed electrical design

- Control architecture

- PLC architecture

- HMI architecture

- Network architecture

- Safety architecture

- I/O architecture

- Panel design

- Cable schedule

- BOM

- I/O list

- Instrument list

- Alarm list

- Interlock list

- Cause-and-effect matrix

- Sequence description

- Control philosophy

- Software specification

# 11. FACTORY ACCEPTANCE TESTING

## FAT

Understand:

- FAT purpose

- FAT planning

- FAT procedure

- Test cases

- Test conditions

- I/O simulation

- Sequence testing

- HMI testing

- Alarm testing

- Interlock testing

- Safety testing

- Communication testing

- Robot testing

- CNC testing

- Drive testing

- Performance testing

- Defect list

- Punch points

- FAT report

- FAT approval

Also understand the distinction:

FAT: Does the system work before shipment?

SAT: Does the system work correctly after installation at the actual site?

# 12. INSTALLATION & SITE EXECUTION

### Mechanical

- Machine positioning

- Leveling

- Alignment

- Anchoring

- Fixtures

- Conveyor installation

- Robot positioning

- Tool installation

### Electrical

- Power connection

- Control wiring

- I/O wiring

- Sensor wiring

- Drive wiring

- Network wiring

- Earthing

- Shielding

- Panel connection

### Software

- PLC program loading

- HMI project loading

- Drive parameter loading

- CNC configuration

- Robot program loading

- Network configuration

- IP assignment

- Firmware compatibility

### Pre-power checks

- Wiring verification

- Insulation checks

- Earthing

- Polarity

- Short-circuit checks

- Component verification

- Cable verification

- I/O verification

- Mechanical checks

- Safety checks

# 13. COMMISSIONING

This deserves significant depth.

### Stage 1: Power-up

- Energization

- Power-supply verification

- 24 VDC verification

- PLC startup

- HMI startup

- Drive startup

- Network startup

### Stage 2: I/O commissioning

- Input verification

- Output verification

- Sensor testing

- Actuator testing

- Analog verification

- Encoder verification

- Remote I/O testing

### Stage 3: Device commissioning

- VFD

- Servo

- Robot

- CNC

- Barcode scanner

- Printer

- Vision system

- Pneumatics

- Hydraulics

### Stage 4: Communication

- PLC-HMI

- PLC-drive

- PLC-robot

- PLC-CNC

- PLC-scanner

- PLC-printer

- PLC-remote I/O

- Network diagnostics

### Stage 5: Sequence

- Manual operation

- Jog

- Single cycle

- Auto cycle

- Continuous operation

- Interlock testing

- Fault recovery

- Emergency stop

- Safety validation

### Stage 6: Production

- Dry run

- Trial production

- Cycle-time verification

- Quality verification

- Capacity verification

- Stability testing

- Punch-point closure

# 14. SAT

- Site Acceptance Test

- FAT punch-point verification

- Installation verification

- Functional testing

- Safety testing

- Production testing

- Performance testing

- Cycle-time verification

- Reliability/stability

- Documentation verification

- Final acceptance

- Handover

# 15. PDI

Pre-Delivery Inspection / Product Delivery Inspection, depending on the organization's terminology and workflow.

Study the general concept:

- Inspection checklist

- Machine condition

- Components

- Electrical system

- Mechanical system

- PLC/HMI

- Drives

- CNC

- Robots

- Sensors

- Safety

- Documentation

- Software backup

- Parameter backup

- Spares

- Nameplates

- Labels

- Housekeeping

- Punch points

- Acceptance criteria

For your actual workplace, learn exactly what PDI means in that company's documentation system, because industrial organizations have an astonishing talent for giving three different processes the same acronym.

# 16. HANDOVER & DOCUMENTATION

### Technical documentation

- As-built drawings

- Electrical drawings

- PLC backup

- HMI backup

- Robot backup

- CNC backup

- Drive parameters

- Servo parameters

- Network configuration

- IP list

- I/O list

- Alarm list

- Interlock list

- Spare list

- BOM

- Manuals

- Datasheets

- Certificates

- Calibration records

- FAT report

- SAT report

- PDI

- Commissioning report

- Training records

- Warranty information

### Handover

- Technical handover

- Maintenance handover

- Operator training

- Maintenance training

- Spare handover

- Software handover

- Backup handover

- Documentation handover

- Open-point closure

# 17. MAINTENANCE ENGINEERING

This is where I would now make your Industry 3.0 syllabus substantially stronger.

## Maintenance philosophy

- Breakdown maintenance

- Corrective maintenance

- Preventive maintenance

- Predictive maintenance awareness

- Condition-based maintenance

- Planned maintenance

- Emergency maintenance

- Shutdown maintenance

Industry 4.0 will later take predictive maintenance into data-driven territory.

# 18. AUTOMATION PREVENTIVE MAINTENANCE

### PLC

- CPU health

- Module health

- Diagnostic buffers

- Battery

- Power supply

- Connections

- Communication status

- Program backup

- Firmware records

### HMI

- Display

- Touchscreen

- Storage

- Application health

- Communication

- Backup

- Alarm history

### VFD

- Cooling

- Fan

- Filters

- Connections

- DC bus

- Parameters

- Fault history

- Motor connections

- Backup

### Servo

- Drive health

- Motor

- Encoder

- Connections

- Parameters

- Error history

### CNC

- Controller

- Servo

- Spindle

- Cooling

- Batteries

- Parameters

- Programs

- Backup

- Alarm history

### Robots

- Controller

- Motors

- Gearboxes

- Cables

- Teach pendant

- Calibration/mastering

- Batteries

- Programs

- Backup

- Alarm history

# 19. BREAKDOWN MAINTENANCE

Develop a systematic fault-isolation approach.

### PLC fault

Power

→ CPU

→ I/O

→ communication

→ program

→ sequence

### Drive fault

Power

→ drive

→ motor

→ command

→ reference

→ parameter

→ feedback

### Robot fault

Power

→ controller

→ safety

→ servo

→ mastering

→ program

→ mechanical system

### CNC fault

Power

→ controller

→ PLC/PMC

→ servo

→ spindle

→ encoder

→ parameters

→ machine

### Network fault

Physical layer

→ link

→ IP

→ switch

→ protocol

→ device

→ application

# 20. ROOT-CAUSE ANALYSIS

Intermediate level:

- Symptom vs cause

- Immediate cause

- Root cause

- 5 Why

- Fishbone

- Fault-tree awareness

- Failure mode

- Recurring failures

- Intermittent failures

- Human error

- Design error

- Component failure

- Wiring failure

- Software failure

- Parameter failure

- Environmental causes

- Process causes

# 21. CAPA

- Corrective action

- Preventive action

- Problem identification

- Containment

- Root cause

- Corrective action

- Preventive action

- Verification

- Effectiveness

- Documentation

- Recurrence monitoring

This should connect directly to breakdown analysis.

# 22. BREAKDOWN DOCUMENTATION

Study:

- Breakdown report

- Failure report

- Downtime record

- Fault history

- Alarm history

- Corrective action report

- RCA

- CAPA

- MTBF

- MTTR

- Availability

- Repeat-failure tracking

- Pareto analysis

- Critical equipment list

The purpose isn't merely recording history. It is turning maintenance events into engineering knowledge.

# 23. SPARES ENGINEERING

Very important for your maintenance target.

- Critical spares

- Insurance spares

- Consumables

- Wear parts

- Obsolescence

- Lead time

- Replacement strategy

- Minimum stock

- Maximum stock

- Vendor availability

- Alternate parts

- Equivalent parts

- Part-number management

- BOM

- Installed-base mapping

- Spare-to-machine mapping

- Spare history

- Failure history

### Automation spares

- PLC CPU

- I/O modules

- Power supplies

- HMI

- VFD

- Servo drive

- Servo motor

- Communication modules

- Switches

- Sensors

- Encoders

- Barcode scanners

- Printers

- Robot components

- CNC components

- Relays

- Contactors

# 24. OBSOLESCENCE MANAGEMENT

- Product lifecycle

- Legacy systems

- End-of-life

- Last-time buy

- Migration

- Replacement

- Compatibility

- Firmware compatibility

- Software compatibility

- Hardware replacement

- Legacy PLC migration

- Legacy HMI migration

- Legacy drive migration

- Legacy CNC migration

- Robot controller migration

Examples:

S7-300 → S7-1500

MicroLogix → CompactLogix

Legacy GOT → GOT2000

etc.

# 25. BACKUP & DISASTER RECOVERY

You specifically wanted this.

### Maintain backups of

- PLC

- HMI

- VFD

- Servo

- CNC

- Robot

- Vision

- Scanner

- Printer

- Industrial PC

- Network devices

### Backup system

- Master backup

- Working backup

- Historical versions

- Date

- Machine ID

- Software version

- Firmware version

- Hardware version

- Parameter set

- Program version

- Change history

### Recovery

- Hardware replacement

- Program restoration

- Parameter restoration

- Firmware matching

- Software installation

- Configuration restoration

- Testing

- Verification

- Return to production

# 26. INDUSTRIAL PC MAINTENANCE

- OS maintenance

- Application maintenance

- Storage health

- SSD/HDD replacement

- RAM

- Drivers

- Licensing

- Antivirus awareness

- Startup applications

- Communication drivers

- Database/application dependencies

- Image backup

- System recovery

- Hardware replacement

- Software compatibility

Advanced IT infrastructure and cybersecurity stay in later subjects.

# 27. NETWORK MAINTENANCE

- Managed-switch diagnostics

- Port status

- Cable faults

- IP conflicts

- Device replacement

- Configuration backup

- Network topology documentation

- Fiber faults

- Communication alarms

- Packet loss

- Intermittent communication

- Switch replacement

- Configuration restoration

# 28. MACHINE-SPECIFIC MAINTENANCE KNOWLEDGE

For every machine, build a standard knowledge structure:

Machine

→ Process

→ Electrical architecture

→ PLC

→ HMI

→ Drives

→ Servo

→ CNC

→ Robot

→ Sensors

→ Barcode

→ Printer

→ Network

→ Safety

→ Pneumatics

→ Hydraulics

→ Software

→ Backups

→ Spares

→ PM

→ Breakdown history

→ RCA/CAPA

→ Critical parameters

→ Critical failure modes

That is much closer to how an excellent automation-maintenance engineer actually thinks.

# 29. LINE-SPECIFIC AUTOMATION

### BIW

- Welding robots

- PLCs

- Servo systems

- Fixtures

- Sensors

- Barcode/RFID

- Conveyor

- Safety

- Vision

- Nutrunner

- Traceability

- Line communication

- Robot-PLC handshake

### Paint Shop

- Conveyors

- Pumps

- Motors

- Drives

- Temperature

- Pressure

- Flow

- Robots

- Process control

- Safety

- Oven control

### Engine Assembly

- PLC

- HMI

- Nutrunner

- Torque control

- Presses

- Sensors

- Barcode

- Printers

- Vision

- Leak testing

- Traceability

- Poka-yoke

- End-of-line testing

### Chassis

- Conveyors

- Torque systems

- Sensors

- PLC

- HMI

- Drives

- Nutrunner

- Testing

- Traceability

### Machining

- CNC

- Robot

- Tool management

- Coolant

- Chip handling

- Probing

- Gauging

- Barcode

- Tool offsets

- Machine-to-machine communication

### Process manufacturing

- PLC

- Instrumentation

- Drives

- Pumps

- Valves

- Temperature

- Pressure

- Flow

- Level

- Batch control

# 30. AUTOMATION ENGINEERING DOCUMENT CONTROL

Learn the life of a technical document:

Draft

→ Review

→ Approval

→ Release

→ Installation

→ Modification

→ As-built

→ Revision

Study:

- Revision numbers

- Revision history

- Drawing approval

- Change notices

- Engineering change

- Software revision

- Hardware revision

- Document control

- Master copies

- Obsolete documents

- As-built documentation

# 31. CHANGE MANAGEMENT

At intermediate level:

- Why changes occur

- Hardware changes

- Software changes

- Parameter changes

- Network changes

- Sensor changes

- Machine modifications

- Risk assessment

- Testing

- Approval

- Backup before change

- Change documentation

- Rollback

- Post-change verification

This is extremely important in maintenance because "I changed one little parameter and now the machine has become a philosophical question" is not an acceptable change-control system.

# 32. TRAINING & KNOWLEDGE TRANSFER

- Operator training

- Maintenance training

- Troubleshooting guides

- SOP

- Work instructions

- Machine manuals

- Recovery procedures

- Backup procedures

- PM instructions

- Skill matrix

- Technical competency

# 33. SOP / WORK INSTRUCTIONS

Study how to create:

- Startup SOP

- Shutdown SOP

- Machine operation

- Manual mode

- Auto mode

- Fault recovery

- Backup procedure

- PLC replacement

- HMI replacement

- Drive replacement

- Robot recovery

- CNC recovery

- Network-device replacement

- Parameter restoration

- Emergency recovery

# 34. MAINTENANCE PERFORMANCE

Intermediate concepts:

- MTBF

- MTTR

- Availability

- Reliability

- Maintainability

- Downtime

- Planned vs unplanned downtime

- Repeat breakdown

- Chronic breakdown

- Pareto

- Critical equipment

- Maintenance effectiveness